## WIPS
| TAT |  | °C |  | K |  |  | Cells to fill
| Tbleed |  | °C
| Tpiccolo |  | °C
| % water evaporated | 50% | 60% | 70% | 80% | 90% | 100%
External Power (W)
Internal Power (W)
% Evaporated water
|  | 50% | 60% | 70% | 80% | 90% | 100%
Slat efficiency | 0.5
0.55
0.6
0.65
0.7
0.75
0.8
0.85
0.9
0.95
1

## Bleed
| Mach criteria | 0.25
ECS single pack flow | kg/s | 0.66 | 40% | From exercise #1
WIPS total flow | kg/s | 0.99 | 60% | From exercise #2
Total flow on 1 Bleed | kg/s | 1.65
|  | IP | HP
Pressure | bar abs
Température | K
Density | kg/m3
Mach
Air speed | m/s
Min area | m²
Diameter | mm
Diameter | in
Valve diameter selected | in
Dynamic pressure | mbar
Bleed port temperature | °C
PCE outlet temp target | °C
PCE efficiency
Min PCE cold flow | kg/s
PCE power hot pass | kW
PCE power cold pass | kW